INVITATION FOR QUOTES (IFQ)

Public Housing Mid-Rise Storm Damage Restoration
Martin Boots Apartments and Norman Manor Apartments

# Cover Page Information

Owner: Housing Authority of the City of Marion (Marion Housing Authority)

601 S Adams Street, Marion, IN 46953

Solicitation: IFQ No. 2026-PH-MIDRISE-01

Public Notice: Saturday, August 8, 2026

Issue / Website Release: Monday, August 10, 2026 - www.marionha.com

Site Visits: By appointment

Quotation Due: Monday, August 31, 2026 at 5:00 p.m. Eastern Time

Submission Email: steve@marionha.com

No public bid opening will be held.

# Table of Contents

I. Purpose

II. Property Locations

III. Scope of Work

IV. Occupied Property Requirements

V. Contractor Responsibilities

VI. Insurance Requirements

VII. Proposal Requirements

VIII. Pre-Bid Site Visits, Questions, and Addenda

IX. Federal / HUD Labor Standards

X. Proposal Submission

XI. Evaluation Process

XII. Evaluation Criteria

XIII. Owner Rights

XIV. Bid Security and Bonds

XV. Proposal Certification

# I. Purpose

The Housing Authority of the City of Marion (Marion Housing Authority or MHA) is soliciting written quotations from qualified contractors for storm-damage restoration at two occupied Public Housing mid-rise properties. MHA intends to award one contract covering the complete combined scope at both properties.

The work is being procured using simplified acquisition procedures. MHA has determined that the described work qualifies for the routine operation, routine repair, or routine maintenance procedure under Indiana Code 36-1-12-4.9. The procurement will also follow applicable federal Public Housing procurement requirements and MHA procurement policy.

MHA's current estimate for the combined project is approximately $175,000. Award will be based on the evaluation process and criteria stated in Sections XI and XII, not solely on price.

# II. Property Locations

Property 1: Norman Manor Apartments, 121 N Washington Street, Marion, IN 46952 - six-floor occupied Public Housing mid-rise.

Property 2: Martin Boots Apartments, 619 W Third Street, Marion, IN 46952 - three floors plus a half basement, including associated garage/storage work identified at 691 W Third Street.

# III. Scope of Work

The following scope is incorporated directly into this solicitation. There is no separate scope attachment. Quantities and measurements are derived from the insurance evaluations and are provided as bidding information. Monetary insurance pricing is intentionally excluded from this solicitation.

Quoters shall independently verify field conditions, dimensions, access, quantities, and material requirements before submitting a quotation. The contractor shall provide all labor, supervision, materials, equipment, lifts, disposal, permits, protection, cleanup, overhead, and incidentals necessary for complete, watertight, code-compliant work within the described scope.

Impact-resistant shingle requirement. Impact-resistant shingles are required only where the scope provides for complete replacement of an identified shingled roof area. No partial or patchwork upgrade to impact-resistant shingles is required. Norman Manor's main roof is not included for shingle replacement; only the identified accessory shingled roofs are included.

## Norman Manor - Detailed Scope

121 N Washington Street, Marion, Indiana

| Area | Required Work | Quantity / Notes |
| --- | --- | --- |
| Main Roof | Replace furnace vent rain caps | 15 each - 10 in.; 14 each - 3 in. |
| Front Elevation | Replace metal fascia; replace aluminum wall coping on vertical balcony supports | 37 LF fascia; 281 LF coping |
| Right Elevation | Replace ribbed metal roofing, aluminum rake/gable edge trim, and color-finish sidewall/endwall flashing | 27 SF 26-ga. metal; 9 LF trim; 6 LF flashing |
| Rear Elevation | Replace aluminum wall coping on vertical balcony supports | 258 LF |
| Left Elevation | Replace ribbed metal roofing, aluminum rake/gable edge trim, and color-finish sidewall/endwall flashing | 27 SF 26-ga. metal; 9 LF trim; 6 LF flashing |

## Norman Manor - Accessory Shingled Roofs

| Area | Required Work | Quantity / Notes |
| --- | --- | --- |
| Awning Roof | Tear off laminated shingles; install felt, high-grade impact-resistant laminated shingles, starter, drip edge/gutter apron, and impact-resistant hip/ridge cap | 1.61 SQ tear-off/felt; 1.67 SQ shingles; 51.31 LF starter; 51.31 LF drip edge; 10.83 LF ridge cap |
| Garage | Tear off laminated shingles; install felt, high-grade impact-resistant laminated shingles, starter, drip edge/gutter apron, and impact-resistant hip/ridge cap; replace fascia and gutter/downspout | 5.89 SQ tear-off/felt; 6.00 SQ shingles; 98.05 LF starter; 98.05 LF drip edge; 21.08 LF ridge cap; 56 LF fascia; 12 LF gutter/downspout |
| Storage | Tear off 3-tab shingles; install felt, high-grade impact-resistant laminated shingles, starter, drip edge, and impact-resistant hip/ridge cap; replace 1 x 4 trim lumber; seal and paint trim | 1.79 SQ tear-off/felt; 2.00 SQ shingles; 53.67 LF starter; 53.67 LF drip edge; 37.50 LF ridge cap; 42 LF lumber/paint |
| Gazebo | Tear off 3-tab shingles; install felt, high-grade impact-resistant laminated shingles, starter, drip edge, and impact-resistant hip/ridge cap; account for 7/12-9/12 steep roof; pressure/chemical clean, prime/seal, and paint elevations | 2.40 SQ tear-off/felt; 3.00 SQ shingles; 53.33 LF starter; 53.33 LF drip edge; 76.78 LF ridge cap; 300 SF clean/paint |

## Martin Boots - Detailed Scope

619 W Third Street, Marion, Indiana, including associated work at 691 W Third Street

| Area | Required Work | Quantity / Notes |
| --- | --- | --- |
| Main Roof | Tear off laminated shingles; install ice/water barrier at eaves, double-coverage 15-lb felt/low-slope underlayment, high-grade impact-resistant laminated shingles, universal starter, drip edge/gutter apron, continuous shingle-over ridge vent, and impact-resistant hip/ridge cap | 169.53 SQ tear-off; 4,144.28 SF ice/water barrier; 131.87 SQ double felt; 176.00 SQ shingles; 683.77 LF starter; 683.77 LF drip edge; 204.48 LF ridge vent; 470.41 LF ridge cap |
| Main Roof | High-roof access/work; replace pipe jacks, gravity roof ventilators, related extra-large ductwork/curbs or risers, 6-in aluminum gutter/downspout, and metal fascia; provide lift and telehandler/forklift as required | 165.31 SQ high-roof area; 10 pipe jacks; 5 ventilators; 20 LF ductwork; 683.77 LF gutter/downspout; 128 LF fascia; equipment as required by scope |
| Front Elevation | Replace 6-in aluminum gutter/downspout, vinyl siding, house wrap, vinyl glazing bead, and color-finish L-flashing at siding head/over A/C grilles; provide high-work lift | 148 LF gutter/downspout; 1,606.50 SF siding; 1,606.50 SF house wrap; 1,155 LF glazing bead; 445 LF flashing |
| Right Elevation | Replace 6-in aluminum gutter/downspout | 84 LF |
| Left Elevation | Replace vinyl soffit | 16 SF |
| Picnic Roof | Tear off laminated shingles; install felt, high-grade impact-resistant laminated shingles, starter, drip edge/gutter apron, and impact-resistant hip/ridge cap; account for 7/12-9/12 steep roof; detach/reset cupola and stain wood siding/cupola | 7.15 SQ tear-off/felt; 7.33 SQ shingles; 107.02 LF starter; 107.02 LF drip edge; 26.17 LF ridge cap; 25 SF stain |
| Picnic Structure | Pressure/chemical clean and stain/finish posts, corbels, exposed trusses, fascia, and underside of roof; mask/protect adjacent surfaces | 1,430 SF clean/stain; 800 SF masking |
| Gazebo Roof | Tear off laminated shingles; install felt, high-grade impact-resistant laminated shingles, starter, drip edge/gutter apron, and impact-resistant hip/ridge cap; detach/reset finial/cupola | 2.84 SQ tear-off/felt; 3.67 SQ shingles; 58.67 LF starter; 58.67 LF drip edge; 82.71 LF ridge cap |

## 691 W Third Street - Garage and Storage

| Area | Required Work | Quantity / Notes |
| --- | --- | --- |
| 691 W Third - Garage | Tear off laminated shingles; install felt, high-grade impact-resistant laminated shingles, starter, drip edge/gutter apron, continuous shingle-over ridge vent, and impact-resistant hip/ridge cap; replace aluminum gutter/downspout; replace small area vinyl siding | 13.83 SQ tear-off/felt; 14.00 SQ shingles; 154.89 LF starter/drip edge; 45.50 LF ridge vent; 49.50 LF ridge cap; 99 LF + 24 LF gutter/downspout; 12 SF siding |
| 691 W Third - Storage | Tear off 3-tab shingles; install felt, high-grade impact-resistant laminated shingles, starter, drip edge, and impact-resistant hip/ridge cap; paint door slabs and trim/jamb; replace small area vinyl siding | 1.79 SQ tear-off/felt; 2.00 SQ shingles; 53.67 LF starter/drip edge; 37.50 LF ridge cap; 2 door slabs; 1 large trim/jamb; 12 SF siding |

## The scope of work is based in part upon insurance evaluations and is not intended to represent that all storm-related damage has necessarily been identified. Any additional or concealed storm-related damage discovered during performance of the work shall be promptly documented and reported to MHA. Such work shall not proceed without MHA’s written authorization and, when applicable, shall be addressed through a written change order.

## Unforeseen Conditions

The Owner recognizes that concealed or additional storm damage may be discovered after tear-off or demolition. The contractor shall notify MHA before covering concealed conditions and shall provide photographs, measurements, a written description, recommended corrective action, and associated cost proposal before performing additional work.

No additional work is compensable without prior written MHA authorization or a written change order. Unit price U-1 may be used for authorized concealed roof decking/sheathing replacement.

# IV. Occupied Property Requirements

Both properties are occupied Public Housing communities. Contractors shall conduct all operations in a manner that protects residents and minimizes disruption to normal property operations.

Coordinate schedules and site access with MHA property management.

Maintain safe ingress and egress to all occupied buildings at all times.

Provide advance notice of disruptive work when requested by MHA.

Protect residents, vehicles, sidewalks, entrances, landscaping, windows, HVAC equipment, and common areas.

Secure tools, lifts, loose materials, and debris at the end of each workday and remove debris regularly.

Perform magnetic nail pickup in roofing work areas before demobilization.

No smoking or vaping is permitted on MHA property. Normal work hours are 8:00 a.m. to 5:30 p.m.; weekend or after-hours work requires prior written MHA approval.

Maintain professional conduct while on site.

## Resident and Property Damage Responsibility

The contractor is responsible for damage caused by its employees, subcontractors, equipment, materials, or operations. Damage to buildings, resident property, vehicles, landscaping, sidewalks, curbs, utilities, or other site improvements shall be repaired or replaced by the contractor at no additional cost to MHA.

# V. Contractor Responsibilities

Verify existing conditions and all quantities necessary for a complete installation.

Visit both properties before quoting or otherwise satisfy itself as to field conditions and access.

Obtain and pay for permits, inspections, licenses, and governmental approvals assigned to the contractor by the final contract documents.

Provide all labor, supervision, materials, equipment, lifts, transportation, disposal, and incidentals.

Comply with OSHA requirements, applicable building codes, and manufacturer installation requirements.

Maintain required insurance throughout the work.

Provide manufacturer warranties and contractor workmanship warranties.

Honor warranty obligations and promptly correct covered defects during the warranty period at no additional cost to MHA.

Provide closeout documentation, warranties, photographs, and other documentation required for final payment.

# VI. Insurance Requirements

Before contract execution or notice to proceed, the successful contractor shall provide certificates evidencing insurance acceptable to MHA, including:

Commercial General Liability Insurance - $1,000,000 per occurrence.

Automobile Liability Insurance - $1,000,000.

Workers' Compensation Insurance as required by law.

Employer's Liability Insurance.

Umbrella / Excess Liability Insurance if required by the final contract documents.

# VII. Proposal Requirements

## A. Company Information

Company legal name and business address.

Primary contact person, telephone number, and email address.

Years in business and ownership structure.

Completed W-9 and evidence of eligibility to contract; MHA will verify suspension/debarment status before award.

## B. Insurance

Current Certificate of Insurance or other evidence demonstrating the ability to obtain the coverage required by this solicitation.

No bid bond, performance bond, or payment bond is required by this solicitation.

## C. Qualifications and Experience

Description of company experience with roofing, siding, gutter/downspout, flashing, painting/staining, and storm-restoration work.

Experience with occupied multifamily housing and, where applicable, Public Housing properties.

Number and description of comparable projects completed during the past five years.

At least three references for comparable work, including contact names, telephone numbers, and email addresses.

Evidence of manufacturer authorization or certification if required to obtain the proposed roofing-system warranty.

## D. Pricing

Quoters shall submit one firm, all-inclusive quotation covering the complete scope at both properties. Property breakouts are required for MHA and insurance accounting. The combined Total Base Bid is the price component evaluated under Section XII.

| Item | Bid Component | Amount |
| --- | --- | --- |
| A | Norman Manor - complete scope, 121 N Washington Street | $________________ |
| B | Martin Boots - complete scope, 619 W Third Street, including associated work at 691 W Third Street | $________________ |
|  | TOTAL BASE BID (A + B) - price component for Section XII | $________________ |
| U-1 | Unit price: concealed roof decking/sheathing replacement to match existing, per 4 x 8 sheet installed | $________ / sheet |

Unit price U-1 is not added to the Total Base Bid for evaluation. It will be used only for unforeseen concealed damage when authorized in writing by MHA.

## E. Schedule

Proposed mobilization date after Notice to Proceed.

Estimated calendar days to substantial completion.

Number of crews available and proposed staffing/supervision.

Ability to perform the work at both properties within the proposed schedule.

## F. Warranty Information

Contractors shall provide detailed information regarding all manufacturer and workmanship warranties included with the quotation. At a minimum, the quotation shall identify:

Manufacturer's material warranty.

Contractor workmanship warranty, including duration and principal exclusions.

Warranty claim procedures and the person or office responsible for warranty service.

Anticipated response time for warranty and emergency service requests.

## G. Local Service Capability and Post-Construction Support

MHA will consider the contractor's ability to provide timely construction support, warranty service, and post-completion responsiveness. Geographic location alone will not earn evaluation points.

Location of the office or facility that will manage this project and warranty service.

Name and title of the individual responsible for post-construction support.

Anticipated response times for warranty claims and emergency service requests.

Availability of personnel, supervisors, service technicians, or crews for follow-up and warranty work.

Relevant history demonstrating timely and effective post-completion support.

## H. Subcontractors

Identify major subcontractors expected to perform any portion of the work and describe the work to be performed. MHA reserves the right to review proposed subcontractors. Substitution after award requires prior written MHA approval when required by the final contract documents.

## I. Section 3, Business Diversity, and Community Participation

Quoters may provide information regarding Section 3 commitments and applicable outreach or participation involving small businesses, minority-owned businesses, women-owned businesses, veteran-owned businesses, labor-surplus-area firms, and other participation efforts consistent with federal requirements. Any evaluation under this factor will be based on permissible commitments and documented capability, not an unlawful geographic preference.

# VIII. Pre-Bid Site Visits, Questions, and Addenda

Questions shall be submitted in writing to Steve Sapp at steve@marionha.com. Material responses will be issued through a written addendum posted with the solicitation or otherwise provided to known prospective quoters.

Site visits are available by appointment through Marion Housing Authority, (765) 664-5194, and are strongly encouraged before quotation submission. Quoters are responsible for field verification.

Quoters are responsible for acknowledging receipt of all addenda in their submission.

# IX. Federal / HUD Labor Standards

This project is work on Public Housing property. Applicable federal prevailing-wage and HUD contract requirements will be determined under the federal classification of the work. MHA's use of Indiana Code 36-1-12-4.9 for state procurement purposes does not, by itself, determine the federal labor-standards classification.

Under 24 CFR 905.308(b)(3)(i), covered Public Housing development or modernization work exceeding $2,000 is subject to Davis-Bacon prevailing wage rates. Under 24 CFR 905.308(b)(3)(ii), covered operations work, including routine and nonroutine maintenance, is subject to HUD-determined prevailing wage rates.

MHA will confirm the applicable federal classification and will incorporate or issue by written addendum, before quotations are due, the corresponding wage determination and labor-standards/contract provisions. Quoters shall price and perform the work in compliance with the determination incorporated by MHA.

Other applicable Public Housing requirements include 2 CFR Part 200 contract provisions, Section 3 requirements under 24 CFR Part 75 to the extent applicable, nondiscrimination/equal employment requirements, suspension/debarment requirements, and other mandatory clauses applicable to the project.

# X. Proposal Submission

Quotations shall be submitted to Marion Housing Authority, Attn: Steve Sapp.

Email: steve@marionha.com

Delivery: Marion Housing Authority, 601 S Adams Street, Marion, IN 46953

Quotations must be received no later than Monday, August 31, 2026 at 5:00 p.m. Eastern Time.

Email submissions should identify IFQ 2026-PH-MIDRISE-01 in the subject line. Delivered submissions should identify the solicitation number and quoter name. No public bid opening will be held. Late quotations may be rejected.

# XI. Evaluation Process

Quotations will be reviewed by Marion Housing Authority. MHA may:

Evaluate quotations using the published criteria in Section XII.

Conduct reference and documented past-performance checks.

Request limited clarifications regarding submitted information.

Review contractor qualifications, responsibility, capacity, and experience.

Verify insurance, eligibility to contract, and suspension/debarment status.

Conduct a brief clarification meeting with one or more quoters if reasonably necessary, provided the process does not become a competitive-range or best-and-final-offer procedure.

Prepare and document the award determination.

MHA will first determine whether the quotation is responsive to the material solicitation requirements and whether the quoter is responsible. Responsive quotations from responsible firms will then be evaluated using the published criteria below.

# XII. Evaluation Criteria

MHA will use the following 100-point evaluation:

| Evaluation Factor | Points | Evaluation Basis |
| --- | --- | --- |
| Price Competitiveness | 35 | Combined Total Base Bid, completeness, and price reasonableness. |
| Multifamily Roofing Experience | 20 | Relevant roofing/storm-restoration experience, with particular consideration of occupied multifamily and Public Housing work. |
| References / Past Performance | 15 | Quality, timeliness, safety, cooperation, change-order performance, and warranty/service history. |
| Schedule & Capacity | 10 | Mobilization, completion time, staffing, equipment, supervision, and capacity to perform both properties. |
| Warranty Coverage | 10 | Strength, duration, clarity, exclusions, and process for manufacturer and workmanship warranties. |
| Local Service Capability | 5 | Ability to provide prompt construction and warranty response; geographic location alone is not scored. |
| Business Diversity & Community Participation | 5 | Permissible Section 3/business participation commitments and documented outreach or participation efforts consistent with federal requirements. |
| TOTAL | 100 |  |

Selection will not necessarily be based solely upon the lowest price. Award is intended for the responsive and responsible quoter whose quotation provides the best overall value to MHA under the published evaluation criteria. The contract file will document the basis for the award decision.

# XIII. Owner Rights

Marion Housing Authority reserves the right, as permitted by applicable law and procurement requirements, to:

Reject any or all quotations.

Waive minor informalities or irregularities when lawful.

Request additional information or limited clarifications.

Reject a quotation that is incomplete, nonresponsive, materially unbalanced, or otherwise unacceptable.

Accept the responsive and responsible quotation determined to provide the best overall value under the published criteria.

Cancel the procurement before award when permitted and in MHA's best interest.

MHA intends to award one contract for the complete combined scope at both Public Housing properties.

# XIV. Bid Security and Bonds

No bid bond or other bid security is required for this solicitation. No performance bond or payment bond is required by this solicitation. The successful contractor must provide all insurance and other required contract documentation before notice to proceed.

# XV. Proposal Certification

By signing below, the quoter certifies that it has reviewed this solicitation and available scope information; has had the opportunity to inspect the sites; has included the complete described work in its pricing; acknowledges the federal/HUD requirements that will be incorporated by MHA; and submits its quotation independently without collusion.

Company legal name: _________________________________________________

Authorized signature: __________________________________   Date: ______________

Printed name / title: ________________________________________________

Telephone: __________________________   Email: ______________________________

Addenda acknowledged (numbers): ___________________________________________

There are no separate scope attachments to this solicitation. The detailed scope, pricing schedule, evaluation process, and evaluation criteria are contained in this document.